## VSD Cost Database
|  |  | • IP 54 • 480V 3PH • EMC C2 | • IP 55 • 400V/480V 3PH • ATV650 | • Wall mounted • 400V • IP21 (UL type 1) • Built-in category C2 EMC filter (1st environment) • Build-in choke • Standard control program • Safe torque off • Cable lead through entry • Braking chopper | From 0.55 KW to 200KW • Wall mounted • IP21 (UL type 1) • Built-in category C2 EMC filter (1st environment) • Build-in choke • Standard control program • Safe torque off • Cable lead through • Coated boards From 315 KW to 630 KW • Main switch and aR fuses • With assistant control panel • IP42 • EMC filter C3 • Common mode filter • Standard control program • Safe torque off • Coated boards • Bottom entry and exit of cables • Cable lead through entry • One set of default electric | • PowerFlex 753 AC Drive • Embedded I/O • IP 2X1 • 400V 3 PH | • PowerFlex 753 AC Drive • Embedded I/O • IP 54 • 400V 3 PH | • PowerFlex 753 AC Drive • Embedded I/O • Type 12 / IP54 | • PowerFlex 755 AC Drive • Embedded Ethernet/IP • Type 12 / IP54
|  | Schneider | Schneider | Schneider | ABB (Low Overload 120% ) | ABB (High Overload 150%) | Rockwell | Rockwell | Rockwell IP 54-753 Series | Rockwell IP 54-755 Series | Rockwell 755 + empty filled cells
KW Rating to | KW rating from | Description | Cost | Cost | Cost | Cost | Cost | Cost | Cost | Cost
0.01 | 0.54
0.55 | 0.74 |  |  |  | 0 | 0 | 0 | 0 |  |  | 1254
0.75 | 1.09 |  |  | 629.58 | 314.89 | 314.89 | 0 | 0 | 1161.8 | 1254 | 1254
1.1 | 1.49 |  |  |  | 331.53 | 0 | 0 | 0 |  |  | 1254
1.5 | 2.19 |  |  | 822.36 | 0 | 388 | 0 | 0 | 1161.8 | 1254 | 1254
2.2 | 2.99 |  |  |  | 410.12 | 0 | 802 | 1007 | 1161.8 | 1254 | 1254
3 | 3.99 |  | 788.2 | 921.06 | 0 | 445 | 0 | 0 |  |  | 1434
4 | 5.49 |  |  |  | 503.03 | 503 | 862 | 1057 | 1224.3 | 1434 | 1434
5.5 | 7.49 |  |  | 1165.08 | 585.31 | 585 | 956 | 1158 | 1341.8 | 1434 | 1434
7.5 | 10.99 |  | 1293.25 | 1328.04 | 674.98 | 674 | 1000 | 1169 | 1511.8 | 1619 | 1619
11 | 14.99 |  |  | 1563.66 | 808.58 | 808 | 1154 | 1305 | 1811.8 | 1919 | 1919
15 | 18.49 |  | 1786.75 |  | 1008.73 | 1008 | 1319 | 1567 | 2076.8 | 2199 | 2199
18.5 | 21.99 |  | 2031.05 | 2206 | 1164.04 | 1164 | 1548 | 1791 | 2404.3 | 2541.5 | 2541.5
22 | 29.99 |  |  |  | 1340.62 | 1340 | 1831 | 2072 | 2806.8 | 3016.5 | 3016.5
30 | 31.99 |  |  | 2998 | 1591.63 | 1591 | 2098 | 2433 | 3504.3 | 3766.5 | 3766.5
32 | 36.99 |  |  |  | 0 | 0 | 0 | 0 |  |  | 4291.5
37 | 44.99 |  | 3471.3 |  | 1937.85 | 1937 | 2544 | 3053 | 3909.3 | 4291.5 | 4291.5
45 | 49.99 |  |  |  | 2380.69 | 2380 | 2972 | 3521 | 4963.3 | 5216.5 | 5216.5
50 | 54.99 |  |  | 5055 | 0 | 0 | 0 | 0 |  |  | 5841.5
55 | 74.99 |  | 5128.9 | 5055 | 2695.02 | 2695 | 3389 | 4334 | 5538.3 | 5841.5 | 5841.5
75 | 89.99 |  |  | 5676 | 3092.55 | 3092 | 4103 | 4840 | 5988.3 | 6341.5 | 6341.5
90 | 109.99 |  | 8044.05 |  | 4070.67 | 4070 | 4521 | 5235 | 6663.3 | 7041.5 | 7041.5
110 | 131.99 |  |  |  | 4924.45 | 4924 | 5092 | 5763 | 8688.3 | 9279 | 9279
132 | 149.99 |  |  |  | 5865.59 | 5865 | 6433 | 7587 | 10263.3 | 10979 | 10979
150 | 179.99 |  |  |  | 6978.69 | 6978 | 8019 | 8928 | 12163.3 | 13054 | 13054
180 | 199.99 |  | 16750 |  | 0 | 0 | 0 | 0 |  |  | 15346.5
200 | 249.99 |  | 16750 |  | 8590.09 | 8590 | 9689 | 10598 | 14238.3 | 15346.5 | 15346.5
250 | 279.99 |  | 18785 |  | 10561.59 | 15852 | 11469 | 12400 |  | 20096.5 | 20096.5
280 | 314.99 |  | 23170 |  | 0 | 0 | 0 | 16318 |  | 22996.5 | 22996.5
315 | 349.99 |  |  |  |  | 18211 | 14230 | 0 |  | 30521.5 | 30521.5
350 | 399.99 |  |  |  | 0 | 20347 | 0 | 0 |  |  | 35371.5
400 | 449.99 |  |  |  | 0 | 0 | 21460 | 23548 |  | 35371.5 | 35371.5
450 | 499.99 |  |  |  | 24816.89 | 0 | 0 | 0 |  |  | 40646.5
500 | 559.99 |  |  |  | 0 | 0 | 25460 | 29350 |  | 40646.5 | 40646.5
560 | 629.99 |  |  |  | 0 | 0 | 29812 | 33900 |  | 56246.5 | 56246.5
630 | 700 |  |  |  | 0 | 58329 | 0 | 0 |  | 61146.5 | 61146.5
710 | [10 empty] | 80000
800 | [10 empty] | 85000
1500 | [10 empty] | 90000
3000 | [10 empty] | 100000
6000 | [10 empty] | 150000
Transformer Pricing
FACTOR K Rating | K4 | K9 | K13
Tx Size | Cost | Cost | Cost
500 | 50000
750 | 55000
1000 | 60000
1500 | 65000
2000 | 72000
5000 | 140000
8000 | 250000
10000 | 250000
11000 | 300000
MCC Module Pricing | [8 empty] | Upstream CB Sizing (NHP)
VSD - 415 V Feeder Module |  |  | DOL Drives - 415 V Starter Module |  | Standard Module Size | Standard Module Height |  |  | KW Rating | Motor Amp Rating | CB Size Amp
KW Rating | Cost |  | KW Rating | Cost |  |  |  |  | 0.18 | 0.6 | 20
0.12 | 2989.85 |  | 0.12 | 3500 | 3 | 167 |  |  | 0.25 | 0.8 | 20
0.18 | 2989.85 |  | 0.18 | 3500 | 3 | 167 |  |  | 0.37 | 1.1 | 20
0.37 | 2989.85 |  | 0.37 | 3500 | 4 | 227 |  |  | 0.55 | 1.5 | 20
0.55 | 2989.85 |  | 0.55 | 3500 | 4 | 227 |  |  | 0.75 | 1.8 | 20
0.75 | 2989.85 |  | 0.75 | 3500 | 4 | 227 |  |  | 1.1 | 2.6 | 20
1.1 | 2989.85 |  | 1.1 | 3750 | 4 | 227 |  |  | 1.5 | 3.4 | 20
1.5 | 2989.85 |  | 1.5 | 3750 | 4 | 227 |  |  | 2.2 | 4.8 | 20
2.2 | 2989.85 |  | 2.2 | 3750 | 4 | 227 |  |  | 3 | 6.5 | 20
3 | 2989.85 |  | 3 | 3750 | 4 | 227 |  |  | 4 | 8.2 | 20
4 | 2989.85 |  | 4 | 3750 | 4 | 227 |  |  | 5.5 | 11 | 20
5.5 | 3259.9 |  | 5.5 | 3900 | 4 | 227 |  |  | 7.5 | 14 | 32
7.5 | 3259.9 |  | 7.5 | 3900 | 5 | 287 |  |  | 10 | 17 | 32
11 | 3259.9 |  | 11 | 3950 | 5 | 287 |  |  | 11 | 21 | 32
15 | 4024.55 |  | 15 | 3950 | 5 | 287 |  |  | 15 | 28 | 50
18.5 | 4024.55 |  | 18.5 | 3950 | 5 | 287 |  |  | 18.5 | 34 | 63
22 | 4024.55 |  | 22 | 3950 | 5 | 287 |  |  | 22 | 40 | 63
30 | 4271.85 |  | 30 | 4300 | 6 | 347 |  |  | 30 | 55 | 100
37 | 4271.85 |  | 37 | 4300 | 6 | 347 |  |  | 37 | 66 | 100
45 | 4271.85 |  | 45 | 5300 | 10 | 587 |  |  | 45 | 80 | 160
55 | 6062.8 |  | 55 | 5300 | 10 | 587 |  |  | 55 | 97 | 250
75 | 6062.8 |  | 75 | 5900 | 12 | 707 |  |  | 75 | 130 | 250
90 | 6062.8 |  | 90 | 6500 | 25 | 1307 |  |  | 90 | 155 | 250
110 | 6062.8 |  | 110 | 6900 | 25 | 1307 |  |  | 110 | 189 | 400
132 | 6941.7 |  | 132 | 6900 | 25 | 1307 |  |  | 132 | 225 | 400
150 | 6941.7 |  |  |  | 25 | 1307 |  |  | 150 | 250 | 400
185 | 6941.7 |  |  |  | 25 | 1307 |  |  | 160 | 270 | 630
220 | 7921.35 |  |  |  | 25 | 1307 |  |  | 185 | 325 | 630
250 | 7921.35 |  |  |  | 27 | 1427 |  |  | 200 | 361 | 630
280 | 10030.1 |  |  |  | 27 | 1427 |  |  | 220 | 383 | 630
315 | 10030.1 |  |  |  | 27 | 1427 |  |  | 250 | 425 | 630
350 | 10030.1 |  |  |  | 27 | 1427 |  |  | 315 | 530 | 800
400 | 10030.1 |  |  |  | 27 | 1427
450 | 10030.1 |  |  |  | 27 | 1427